## Swim
SWIMMING POOL PERMIT APPLICATION
Department of Building Services
|  | Spokane City Hall, 3rd Floor |  |  |  | Phone: | (509)625-6300
|  | 808 W Spokane Falls Boulevard |  |  |  | Fax: | (509)625-6822
|  | Spokane WA 99201-3343 |  |  |  | www.buildingspokane.org
A Swimming Pool Permit is not required for pools less than 24 inches deep. All Pools, Hot Tubs, and Ponds more than 18 inches deep are required to be enclosed and inaccessible to small children. Gates on fences must be self-closing and self-latching.
Job Site Address: | [6 empty] | Date:
Property Owner/Business Name: |  |  |  | Owner Address:
Contractor: |  |  |  | Contractor License #:
Contractor's Address: |  |  |  | Contact |  |  | Phone #:
Person:
Pool Use (Please check one) |  |  |  | Pool Heater? |  |  | Pool Project Cost:
| Commercial |  |  | Yes
| Residential |  |  | No
For pools located in facilities designed to serve the public, please provide a copy of the approval from the Washington State Department of Health.
|  |  |  | Fee |  | Quantity |  | Total
Pools for Single Family Residence |  |  |  | 75 | x |  | =
All Other Pools |  |  |  | 100 | x |  | =
Inspection Outside of Normal Hours |  |  |  | 75 | x |  | =
Fee is $75 per hour, or fraction thereof, with a minimum of $150 for the first 2 hours. Requires approval from the Inspector Supervisor.
Reinspection ~ fee per hour or fraction thereof |  |  |  | 75 | x |  | =
Electrical, Mechanical, Building, and Fence Permits may also be required. |  |  |  | Planning Service Review Fee: |  |  |  | 25
|  |  |  | State Building Code Fee: |  |  |  | 4.5
Subtotal:
|  |  |  | Processing Fee: |  |  |  | 25
TOTAL PERMIT FEE:
Residential Pool Fences |  |  |  | Commercial Pool Fences
Fence Height |  |  | 4 foot minimum | Fence Height |  |  |  | 6 foot minimum
Gate Latch Height |  |  | 54 inch minimum | Gate Latch Height |  |  |  | 54 inch minimum
Minimum Site Plan Requirements
1. | Property Address |  |  | 5. Distance from Pool to Property Lines
2. | Property Dimensions |  |  | 6. All Building Footprints/Locations
3. | Pool Location & Dimensions |  |  | 7. Fence Location & Height
4. | Pool Heater Location & Size |  |  | 8. Electric Service Line Location/Clearance
Revision 07-08